Ryan Lockman
101430670
System Administration
HW2

Hot and Cold Aisles

Hot and cold aisles are the best methods of containment for a data center. These methods are vastly greater than an uncontained data center. They provide much better regulation and temperature control and are also more efficient.

When building a new data center one of two methods should be considered to control temperature and keep hot spots down. With hot and cold aisle systems your able to control the air flow allowing increased cold air for the servers and the warmest returned air to the cooling units. These methods help in reducing hot spots providing a unified inlet air temperature and minimizing the mixing of hot and cold airflow. You are able to increase your economizer hours, when outdoor temperatures are lower than indoor, lowering your cooling system workload. Also the energy regulation of humidification and dehumidification is reduced.

When implementing a new system you need to decide which of the two preferred methods best suits your costs and needs. With CACS you enclose a cold aisle to separate the air flow allowing the data center to become the hot plenum, while an HACS encloses a hot aisle to gather the equipments hot air exhaust allowing the rest of the room to become the cold plenum also separating the air flow. A CACS provides several thousand economizer hours but has an inefficient work environment temperature. When you lower the work environment temperature your economizer hours becomes almost zero. An HACS can have the same economizer hours or more but also lowers the work environment temperature. What is great about hot aisles is the fact that they provide a 13 percent or more of a drop in PUE and almost a 40 percent drop in cooling energy costs. With cold air containments the reason for a higher energy increase is due to the fact that more cold air mixes with the hot aisle. With a CACS you have this happening at the rack cable cutouts, the data center perimeter cutouts, and the PDU cutouts. With an HACS you are only affected by the cable cutouts for the racks. Because of this there is up to 50 percent more cold air leakage compared to a hot aisle.

There are still benefits to both procedures but as you can see the hot air containments greatly outperform their cold air counterparts. With HACS you get better economizer hours, an ability to set the work environment temperatures, and the ability to apply acceptable non-racked equipment temperatures. With CACS you have ease of deployment for elevated and raised floor data systems which are harder to implement with HCAS. Also the initial costs of setup are cheaper than your hot air containments. Overall HACS is more efficient and is the preferred design for new data centers.